Flux Tower Vegetation Chlorophyll Sampling Protocol

Personnel:

Date:

* Keep chlorophyll meter from getting muddy! Perform measurements first. Take measurements and return instrument to case on the boat.  
1) Sample every month with the Flux Veg Sampling trips. 

2) Measure and record 15 chlorophyll readings from each of the 3 Spartina zones 
a) Short Zone, Medium Zone, and Tall Zone 

3) Select plants at random (can be tall or short);however, must be green)

4) Take the reading from the first fully-expanded leaf at the top of the plant. 

a) Spartina leaf must be big enough to cover the disk of the chamber. 

i) Measurements may not be able to be taken in the short zone. 
	Short Spartina Zone
	Medium Spartina Zone
	Tall Spartina Zone

	
	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 
	 


