SALTEx Quarterly Well Water Sampling Protocol

Overview

- For each experimental plot, sample water from each of two diagonal wells, which will be composited into a clear plastic 500 ml bottle.

- The water from the 500 ml bottle will be mixed and dispensed into three 125 ml bottles, one for the IU group (labeled: DOC) and two for the Cincinnati group (labeled: N&P). In the event that the total composite volume is low (5-30 ml), fill only one bottle for Cincinnati (N&P) and one for IU (DOC). For extremely low volumes, only fill the N&P bottle.

- Bottles must be shipped to arrive on a WEEKDAY. Contact Jacob, Caroline, or M. Price regarding shipping policies for dry ice-cooled samples.

Materials

Field:

Up to 30 appropriately cleaned 500 ml bottles

Peristaltic pump with luer lock fitting and clean piece of tygon tubing zip-tied to spout and stored in

clean ziplock bag

Peristaltic pump battery cable

2 12V batteries

Paperclips for unclogging luer locks and tubing

Refractometer

Thermometer

Plastic cup to hold water for thermometer

Quarterly porewater collection datasheet, clipboard, and pencils

6 500 ml bottles of DI water per day (at least one squirt bottle)

Stopwatch

Sharpies

Cooler with ice

Disposable Gloves

Paper towels

Lab:

Paper towels

DI water

Gloves

90 appropriately cleaned and labeled 125 ml bottles

- Prep 50 mL centrifuge tubes with 20 mL SAOB before starting sampling

Specifics

Pumping the wells.

- This step does not require gloves.

- Pump all of the wells to be sampled until dry or for 5 min (whichever is shorter). The well is dry when there is more air volume than water volume in the tubing. Wells will not ever be completely dry. Record if the well pumped dry and the time it took or note that the well did not pump dry and the time pumped. While pumping the wells monitor and record the salinity and temperature of the pumped water. IF THE WELL DOES NOT PUMP move to a different well and note this in the data sheet. Alert the head SALTEx technician when possible.

- Pump all of the wells to be sampled down two rows of plots, then return back to the beginning of the first row and pump the samples for analysis.  Allow at least 20 min between purging a well and collecting a sample.

Pumping the water samples for analysis.

- The person handling the sample should wear gloves and take care to keep the outlet tubing from the pump clean.

- Use appropriately cleaned bottles provided and labeled for sample collection. Avoid touching any surface or the sample bottle with the outlet tubing from the pump to avoid contamination.

- Before pumping each of the plots for samples, pump deionized water through the pump from a reservoir for 10 seconds to clear the pump system discarding the water.  Repeat before sampling the first well for each plot but not between replicate wells in the same plot.

- Attach the pump to the well to be sampled and pump for 10s from the well through the pump system and discard; use another 30 ml to rinse the clear 500 mL bottle (turn off pump while rinsing).  If reusing a 500 ml bottle, rinse 3 times with ~15 ml DI water before rinsing with pumped water. Collect less than or equal to 250 ml into the composite sample bottle.  If flow is low, pump for until well is dry or for 5 min (whichever is shorter).

- Mark the level of the water in the bottle. Estimate a doubling of this volume, and place a second mark on the bottle.  Repeat this process for the second well (without the rinsing step) and pump the sample into the same composite sample bottle. Fill to the second mark so that the bottle contains approximately ½ its volume from each well.

- Gently mix and immediately put the bottle on ice.

- Use a syringe to collect 20 mL of water from the composite sample bottle and immediately transfer it to the prepped (with SAOB) 50 mL centrifuge tube. Put the tube on ice.

- Repeat steps 1-7 for each plot. FILL OUT THE DATA SHEET COMPLETELY FOR EACH WELL.

Back at the Lab

- Wear gloves. Work with one sample at a time. Make sure all 500 mL collection bottles and 125 mL samples bottles have matching labels. Wipe all water off 500 mL bottles before pouring out of them. Do not touch the mouth of the bottles or the inside of the lid. Pour without touching the bottles to one another.

- Rinse the three labeled sample bottles with ~10 ml of composite sample and discard rinse water. Skip rinse if there is very little volume.

- Fill each bottle to the shoulder (below the neck to leave air space for freezing). If there is less volume, split it equally between DOC and N&P bottles (at least 50 mL in each).  In the event that the total composite volume is less than 100 mL, fill only one N&P bottle (no DOC).

- Freeze samples in the water freezer in a labeled tub. (Contact M. Price for questions)

- Samples should be shipped frozen on dry ice to Cincinnati. Contact IU (C.Craft) before shipping, they may be able to pick up samples on a Sapelo visit.

- Must notify Cincinnati that they are coming and must be shipped so they arrive on a weekday. Inform Joe of tracking number.

Shipping address:

Cincinnati:

Adam Balz or Raghuraman Venkatapathy

26 W. Martin Luther King Dr. Rm 401

Cincinnati Ohio 45268

IU:

C.Craft

School of Public and Environmental Affairs

MSB II RM 444

702 N. Walnut Grove Ave.

Bloomington Indiana 47405